## Checklist
Building Maintenance Checklist
Building Name: | [Building Name] |  | Inspection Date:
Location: | [Building Location] |  | Inspected By: | [Inspector’s Full Name]
General Maintenance Checklist
Area | Task | Frequency | Initials | Completion Date | Notes
Exterior | Inspect walls for cracks or damage | Quarterly
| Check windows for cracks and sealant | Monthly
| Clean and clear gutters and downspouts | Monthly
| Check exterior lights and replace if needed | Monthly
Roof | Inspect for leaks or signs of damage | Quarterly
| Clear debris and check flashing | Quarterly
HVAC System | Change or clean air filters | Monthly
| Inspect ductwork for damage or leaks | Quarterly
| Test thermostat accuracy | Monthly
Electrical System | Test emergency lights and exit signs | Monthly
| Inspect wiring and check for frayed cables | Annually
| Check breaker panels and labels | Annually
Plumbing System | Check for leaks and inspect pipe conditions | Monthly
| Flush water heater and inspect valves | Quarterly
Fire Safety | Check fire extinguishers (recharge if needed) | Monthly
| Test smoke and CO detectors | Monthly
| Inspect and test sprinkler system | Annually
Doors and Windows | Check locks, hinges, and door hardware | Monthly
| Inspect and replace weatherstripping | Monthly
Interior Surfaces | Check walls and ceilings for cracks | Monthly
| Inspect for mold or water stains | Monthly
Floors and Carpets | Inspect for wear and repair as needed | Monthly
| Schedule deep cleaning as needed | Quarterly
Lighting | Replace burnt-out bulbs | Monthly
| Clean light fixtures | Quarterly
Parking Area | Inspect pavement for cracks or potholes | Quarterly
| Check and repaint lines or signage | Annually
Landscaping | Trim trees and bushes | Monthly
| Mow lawn and remove weeds | Weekly
Seasonal Maintenance Tasks
Season | Task | Initials | Completion Date | Detail | Add Notes
Winter | Inspect roof and areas prone to leaks
Remove ice/snow buildup as needed
Test heating system for proper function
Spring | Clean gutters and downspouts
Inspect for winter damage to exterior
Service air conditioning units
Summer | Check pest control around the building
Inspect and clean HVAC units
Fall | Clean gutters of leaves and debris
Check heating system in preparation for winter
Maintenance Summary and Notes
Outstanding Repairs: | List any issues that require additional attention.
Supplies Needed: | Document any maintenance supplies that need to be ordered.
Additional Comments: | Use this space for any observations or comments from the inspection.
Inspector’s Signature: |  |  | Date: | 2024-11-11